**SCOPE OF WORK**

 **COMPLIANCE**

 **YES NO**

 The County requires a competent firm having the required manpower, equipment

and abilities to service and repair any of the County’s plumbing, including but not limited to:

* Underground water mains, curb boxes, sanitary sewers and storm drains [ ]  [ ]
* General and security faucets, shower mixing valves and wall hydrants [ ]  [ ]
* General and security fixtures, toilets, sinks and shower stalls [ ]  [ ]
* General cold/hot water, sewer, waste, drain and vent piping [ ]  [ ]
* Domestic hot water heaters and storage tanks [ ]  [ ]
* Catch basins and dry wells [ ]  [ ]
* Back flow testing and installations [ ]  [ ]
* Video inspection and locating [ ]  [ ]
* Snaking and Hi-Velocity water jet cleaning [ ]  [ ]