**SCOPE OF WORK**

**COMPLIANCE**

**YES NO**

The County requires a competent firm having the required manpower, equipment

and abilities to service and repair any of the County’s plumbing, including but not limited to:

* Underground water mains, curb boxes, sanitary sewers and storm drains
* General and security faucets, shower mixing valves and wall hydrants
* General and security fixtures, toilets, sinks and shower stalls
* General cold/hot water, sewer, waste, drain and vent piping
* Domestic hot water heaters and storage tanks
* Catch basins and dry wells
* Back flow testing and installations
* Video inspection and locating
* Snaking and Hi-Velocity water jet cleaning